Core Workflow – AI-Based Fault Detection and Virtual Sensor Modeling

Overall Idea (1 line)

We continuously monitor reactor cooling sensors, predict expected values using virtual sensors, compare real vs expected behavior, detect anomalies/faults, classify them, and trigger safety alerts.

Workflow

1. Sensor Data Collection

Collect live reactor cooling signals: temperature, pressure, flow, pump parameters, valve position.

2. Preprocessing

Clean data (missing values, noise filtering, scaling) and extract rolling features.

3. Sensor Health (QoL Layer)

Detect sensor problems like drift, bias, stuck-at, spikes. Output: Healthy / Suspect / Faulty + trust score.

4. Virtual Sensor Modeling (Soft Sensors)

AI predicts expected values for key parameters (flow, outlet temperature, pressure differential, pump head) using other sensors.

5. Residual Calculation

Compute: Residual = Real sensor value − Virtual sensor prediction. Residual helps separate sensor fault vs real system fault.

6. AI Fault Detection

Use anomaly detection/classifier to detect abnormal patterns based on sensor + residual trends.

7. Fault Classification + Severity

Classify fault type: Sensor / Equipment / Process anomaly. Grade severity: Minor / Medium / Critical based on deviation + duration.

8. Redundancy Voting + Confidence Fusion (Safety Logic)

Apply 2oo3 voting (if redundant sensors) and downweight unhealthy sensors.

9. Output + Alerts (Operator View)

Show fault cause, severity, confidence, explanation (top sensors), and recommended action.