First is Sensor Health Monitoring.

This module checks if sensors are working properly. It can detect issues like drift, bias, noise spikes, missing values, or sensors getting stuck.

Then it labels the sensor as Healthy, Suspect, or Faulty, and gives a confidence score.

Second is Explainable AI.

Instead of just saying ‘fault detected’, our AI also explains why it detected a fault.

It shows the top sensors or features responsible, like: ‘Fault detected due to flow drop and pressure increase.’

Third is Virtual Sensor Modeling.

We create AI-based soft sensors that estimate important values like coolant flow, pressure difference, and temperature.

If the real sensor value differs a lot from the virtual sensor prediction, it indicates a possible sensor fault.

Fourth is Fault Classification and Severity.

After detecting a fault, the model classifies it as sensor fault, equipment fault, or process anomaly, and grades it as minor, medium, or critical.

Finally, we use Redundancy Voting.

Similar to nuclear safety systems, we apply 2-out-of-3 voting and also use sensor health scores.

So if one sensor is faulty, it gets downweighted and the final decision remains reliable.

So overall, these features improve accuracy, reliability, and safety in reactor cooling system monitoring.